## Daily Fax Report
Avadh Sugar & Energy Ltd
SUGAR UNIT-
DAILY FAX REPORT
SEASON | 2020-21 |  | DATE | 2020-11-09 |  | CROP DAY | 11
Hr Worked |  | Combine |  | 20:24 | pH of ETP |  |  | 7.9
Hr Worked |  | New |  | 24:00 | Total Suspended Solid |  |  | 20
Hr Worked |  | Old |  | 0:00 | Chemical Oxygen Demand |  |  | 98
Cane Crushed |  | Ondate |  | 92500 | Biological Oxygen Demand |  |  | 22
|  | Todate |  | 961000 |  | ETP water flow M3 |  | 80
Total losses |  |  |  | 3.13
Recovery |  | Odate |  | 8.85 | Total operating Hours of tubewell |  |  | 24
|  | Todate |  | 8.64 | Exhaust Condensate Recovery % |  |  | 95.82
| last year | Ondate |  | 9.01 | Nos. of 80 Ton C-M/C Pan |  |  | 0
Bagasse Pol |  | Combine |  | 1.54
|  | New |  | 1.54 | Pan Water
|  | Old |  | 0 | A | B | C | Total
Molasses purity |  |  |  | 45.55 | 390 | 250 | 0 | 640
Molasses % cane |  |  |  | 6.74
Fiber % Cane |  |  |  | 13.39 | Power Import From Cogen (KWH) |  |  | 100730
Primary Juice |  | Brix |  | 18.1 | Power Gen. from Sugar (KWH) |  |  | 83376
|  | Purity |  | 80.66 | Total Power Consumed (KWH) |  |  | 184106
P.Index |  |  |  | 89.18 | Power Generation From Cogen (KWH) |  |  | 526600
Pry. Ext, |  |  |  | 72.21 | Power Export to Grid (KWH) |  |  | 319680
Added Water % cane |  |  |  | 36.36 | Power consumed / Ton Cane |  |  | 19.9
ICUMSA |  | L-31 |  | 85 | Power Consumed / Qtl. Sugar
|  | M-31 |  | 82
|  | S-31 |  | 87 | Steam From Sugar Blr. |  |  | 2358
|  | Raw Su. |  | 0 | D.S.H. Water |  |  | 100
Sugar Bags |  |  | Ondate | Todate | Steam From Cogen. (9Ata) |  |  | 0
|  | L-31 | 1555 | 8125 | Steam From Cogen. (3 Ata) |  |  | 1135
|  | L-30 | 0 | 0 | Total Steam Consumption |  |  | 3593
|  | M-31 | 5860 | 52495 | Steam % cane (With D.S.H.W.) |  |  | 38.84
|  | M-30 | 0 | 0 | Steam consumed / Ton Sugar
|  | S-31 | 1170 | 11635
|  | S-30 | 0 | 0 | Rain Fall (Inch) |  |  | 0
|  | Raw Su. | 0 | 0
|  | Total | 8585 | 72255
|  | Brix | Pol | Purity
C-Single Sugar |  | 0 | 0 | 0
C - Double Sugar |  | 0 | 0 | 0
B-Sugar |  | 97.93 | 94.63 | 96.63
A - Heavy |  | 78.25 | 53.2 | 67.99
A 1 - Heavy |  | 0 | 0 | 0
B - Heavy |  | 87.28 | 39.8 | 45.6
C1 - Heavy |  | 0 | 0 | 0
A - Light |  | 69.05 | 60.83 | 88.1
C - Light |  | 0 | 0 | 0
Seed |  | 86.13 | 85.5 | 99.26
Melt |  | 68.22 | 65.48 | 96
Mixed Juice |  | 13.64 | 10.79 | 79.11
Stoppages
Old Mill 1) From 08:00 to 08:00 for 24: 00 hours -Fibrizer shaft damaged due to bearing seized.